Technical Offer Form

Call for offers: 28/2023/ZERO DROP Schimatari provision of works for the Supply and Installation of a Filter Backwash Water Recirculation and Reuse System at the Water Treatment Plant of Kallithea, Municipality of Tanagra.

| Name of Proposing Company / Organization: |  |
| --- | --- |
| Country of Registration: |  |
| Name of Contact Person for this Offer: |  |
| Address: |  |
| Phone / Fax: |  |
| Email: |  |

Selection Criteria (pass / fail)

The participant must provide the following:

- Proof of enrollment in one of the official professional or trade registries at the country of registration.

- License to perform works in Greece.

- Certification to carry out the requested works (ISO 9001:2015, ISO 14001:2015, ISO 45001:2018 or equivalent on “design, supply, installation, maintenance and support of water treatment systems).

- Statement of availability of resources (e.g. tools, equipment, personnel / technicians) to perform the requested tasks (either own resources or through collaboration). Minimum requirements:

- Power cutting tools (e.g. angle wheel)

- Drilling and screwing power tools

- Testing and measuring equipment for the electrical works (e.g. multi-meter)

- Small concrete mixer

- Small crane for moving heavy equipment.

- Statement that at least one certified electrician / installer will be used to perform the electrical works.

- Statement of understanding the requested objective, services and deliverables.

- Graphic Works Schedule - Program of Works in the form of a Gantt Chart.

- Datasheet of the offered electromechanical equipment.

- Signed statement certifying that the equipment is new and unused.

- The CE or ISO certificates of the pumps, and any other electromechanical equipment which is to be offered.

- Warranty for good operation for at least 1 year for the whole system which is to be installed.

- Proof of their average annual turnover for the last three (3) fiscal years being at least equivalent to the maximum amount of this Call.

- Proof (contract and accompanying documentation) of having executed at least one work of equal or higher value which included at least four of the five following aspects, in the last three years:

- Booster water pumps

- Dosing pumps for chemicals

- Filtration with Lamella

- Filtration with pressure filter of at least two layers of filtering media)

- Control panel

- Proof of visiting the location of installation of the requested system in the preset time period.