# Financial Offer Form

Quotation Ref: 26/2024/CP2.2

Supplier’s Details:

| Type of Business (Company/Self-employed – Freelancer) |  |
| --- | --- |
| Company Name/supplier name: |  |
| Address: |  |
| Tel/ e-mail address: |  |
| VAT or Tax registration No: |  |
| Name of Legal Representative: |  |

Offer:

Total price is to be quoted in Euros Including VAT and any other Tax or Fee that should apply for any reason.

| Item | Technical Specification | Unit Price all taxes in € | Quantity | Total Price all taxes in € |
| --- | --- | --- | --- | --- |
| Automatic Groundwater Monitoring System supply and installation |  |  |  |  |
| Sensors to measure and record water level, water pressure, conductivity, and temperature for continuous groundwater monitoring with data transmission module | - Temperature range : -5 to 50° C - Salinity range : 0 to 100,000 μS/cm - Pressure range : 200 m |  | 2 |  |
| IoT Platform and adapted Gateways (for reading, viewing, downloading, configuring data upload, etc.) | All Sensor data (sensors Network) to be synchronized with the IoT platform Fields station/Sensors configuration Maps & Geolocation Services Data Processing & Alerting Dashboards & Reports Open API for Easy Integration |  | 1 |  |
| Total Price All taxes in Figures (€) |  |  |  |  |
| Total Price All taxes in letters (€) |  |  |  |  |

The Participant I am representing (“We”) has examined, and accept in full and in its entirety, the content of this quotation document (including subsequent Clarification Notes issued by the Contracting Authority). We hereby accept the contents thereto in their entirety, without reservation or restriction. We also understand that any disagreement, contradiction, alteration, deviation or omission shall lead to our offer not being considered any further. We offer to provide, in accordance with the terms of the tender document and the conditions and time limits laid down, without reservation or restriction, the requirements of this Call For Offers /

_____________________________			_____________________________

Signature						Date